## PPM schedule
Asset class | Task | Frequency | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Chiller | Tube cleaning, refrigerant and oil check | Quarterly | bar: Mar; Jun; Sep; Dec
AHU | Filter change, belt and bearing check | Monthly | bar: Jan to Dec
DG set | Load test and fuel polishing | Monthly | bar: Jan to Dec
UPS | Battery discharge test | Half-yearly | bar: Apr; Oct
Fire pump | Churn run and flow test | Weekly (shown monthly) | bar: Jan to Dec
Lift | Statutory inspection and safety test | Annual | bar: May
STP | Blower and diffuser service | Quarterly | bar: Feb; May; Aug; Nov
Cooling tower | Fill and drift eliminator clean | Half-yearly | bar: Mar; Sep